## standard_fields
Field Name | Units | Description
a | 1/m | Total absorption coefficient (aw + ap + ag)
a*ph | m^2/mg | Chlorophyll a specific absorption coefficient
a*srfa | m^2/mg | Specific absorption coefficient of Suwanee River Fulvic Acid standard
aaer | 1/m | Absorption coefficient of atmospheric aerosols
abs | unitless | Absorbance
abs* | m^2/mg | Carbon specific absorbance
abs_ad | unitless | Absorbance (Optical Density) of non-algal detritus
abs_ag | unitless | Absorbance (Optical Density) of Gelbstoff
abs_ap | unitless | Absorbance (Optical Density) of particles (ad + aph)
abs_blank_ad | unitless | Absorbance of a blank (or unused) filter pad for non-algal detritus.
abs_blank_ag | unitless | Absorbance of a blank (or unused) filter pad for Gelbstoff.
abs_blank_ap | unitless | Absorbance of a blank (or unused) filter pad for particles.
abs_nacl | unitless | Absorbance of NaCl solution (use with the _###ppt suffix)
abundance | none | Number of cells observed (to specify a particular taxonomic type, see "_abun" in Table of Field Name Suffixes)
ad | 1/m | Absorption coefficient of non-algal detritus
ad_unc | 1/m | Accumulated estimate of standard uncertainty associated with the derivation of the absorption coefficient of non-algal detritus (ad) via error propagation through the absorption equation. See section 5.3.4 of IOCCG's "Volume 1: Inherent Optical Property Measurements and Protocols: Absorption Coefficient" (2018).
adg | 1/m | Absorption coefficient of non-algal detritus + Gelbstoff (ad + ag)
ag | 1/m | Absorption coefficient of Gelbstoff
agp | 1/m | Absorption coefficient of Gelbstoff + particles (ag + ap)
Allo | mg/m^3 | HPLC Alloxanthin
alpha-beta-Car | mg/m^3 | HPLC Alpha (Beta,epsilon) + Beta (Beta,beta) Carotenes
altitude | m | Altitude above sea level
am | unitless | Airmass
AMC | umol | Concentration of 7-Amino-4-methylcoumarin's fluorescent molecules without an associated substrate (used for the calibration curve in flow cytometry).
AMC-Leu | umol/L/hr | Rate of substrate cleavage for L-Leucine-7-amido-4-methylcoumarin hydrochloride
angstrom | unitless | Angstrom exponent
Anth | mg/m^3 | HPLC Antheraxanthin
AOT | unitless | Aerosol Optical Thickness (sometimes referred to as tau or taua)
ap | 1/m | Absorption coefficient of particles (ad + aph)
ap_unc | 1/m | Accumulated estimate of standard uncertainty associated with the derivation of the absorption coefficient of particles (ap) via error propagation through the absorption equation. See section 5.3.4 of IOCCG's "Volume 1: Inherent Optical Property Measurements and Protocols: Absorption Coefficient" (2018).
aph | 1/m | Absorption coefficient of phytoplankton
aph_unc | 1/m | Accumulated estimate of standard uncertainty associated with the derivation of the absorption coefficient of phytoplankton (aph) via error propagation through the absorption equation. See section 5.3.4 of IOCCG's " Volume 1: Inherent Optical Property Measurements and Protocols: Absorption Coefficient" (2018).
asrfa | 1/m | Absorption coefficient of Suwanee River Fulvic Acid standard
associated_file_types | none | File type of an associated file. Please contact SeaBASS staff before using this field to verify that your file type is supported. Valid entries for this field are: DNA-FASTQ, DNA-FASTA (for files relating to DNA analysis), BENTHIC (for images relating to benthic type and cover), and PLANKTONIC (for images relating to flow cam imagery or phytoplankton taxonomic types). If multiple entries are applicable, separate them with the pipe character:
associated_files | none | File name of an associated file. Must be used with associated_file_type. Please include the file suffix in the entry. If multiple entries are applicable, separate them with the pipe character:
Asta | mg/m^3 | HPLC Astaxanthin
At | degreesC | Air temperature
aw | 1/m | Absorption coefficient of water
b | 1/m | Total scattering coefficient (bw + bp)
bact_abun | cells/L | Bacterioplankton abundance
bactP | pmol/L/hr | Bacterioplankton production
bb | 1/m | Total backscattering coefficient (bbw + bbp)
bbp | 1/m | Backscattering coefficient of particles
bbp_bp | unitless | Ratio of the backscattering coefficient of particles (bbp) to the total backscattering coefficient (bp)
bbw | 1/m | Backscattering coefficient of water
BChl_a | mg/m^3 | HPLC Bacteriochlorophyll a
benthic_type | none | Description of the benthic seafloor community or substrate.
beta-beta-Car | mg/m^3 | HPLC Beta-Carotene (Beta,beta-Carotene)
beta-epi-Car | mg/m^3 | HPLC Alpha-Carotene (Beta,epsilon-Carotene)
beta-psi-Car | mg/m^3 | HPLC Gamma-Carotene (Beta,psi-Carotene)
bin_depth | m | Nominal or center depth for each data bin
bincount | none | Number of records averaged into a bin or reported measurement
bottle | none | Number used to identify a specific bottle within an array of bottle samples collected
bp | 1/m | Scattering coefficient of particles
BSi | mmol/m^3 | Biogenic silica
But-fuco | mg/m^3 | HPLC 19'-Butanoyloxyfucoxanthin
bw | 1/m | Scattering coefficient of water
c | 1/m | Beam attenuation coefficient
C2H3N_H | ppbv | VOCC concentration of (C2H3N)H+ in the air evolved from the experimental chambers that are measured by the PTR-TOF/MS. Use with headers /chemical_formula= and /mass_to_charge=.
C2H4O_H | ppbv | VOCC concentration of (C2H4O)H+ in the air evolved from the experimental chambers that are measured by the PTR-TOF/MS. Use with headers /chemical_formula= and /mass_to_charge=.
C2H6S_H | ppbv | VOCC concentration of (C2H6S)H+ in the air evolved from the experimental chambers that are measured by the PTR-TOF/MS. Use with headers /chemical_formula= and /mass_to_charge=.
C3H6O_H | ppbv | VOCC concentration of (C3H6O)H+ in the air evolved from the experimental chambers that are measured by the PTR-TOF/MS. Use with headers /chemical_formula= and /mass_to_charge=.
C5H8_H | ppbv | VOCC concentration of (C5H8)H+ in the air evolved from the experimental chambers that are measured by the PTR-TOF/MS. Use with headers /chemical_formula= and /mass_to_charge=.
C6H6_H | ppbv | VOCC concentration of (C6H6)H+ in the air evolved from the experimental chambers that are measured by the PTR-TOF/MS. Use with headers /chemical_formula= and /mass_to_charge=.
Cantha | mg/m^3 | HPLC Canthaxanthin
cdmf | volts | CDOM fluorescence (may be used in combination with suffixes _ex### and/or _em###, like so: cdmf_ex###_em###; ex = excitation wavelength; em = emission wavelength)
cdom | mg/m^3 | Concentration of chromophoric dissolved organic matter
cg | 1/m | Attenuation coefficient of Gelbstoff
cgp | 1/m | Attenuation coefficient of Gelbstoff + particles (c - cw = agp + bp)
CH4O_H | ppbv | VOCC concentration of (CH4O)H+ in the air evolved from the experimental chambers that are measured by the PTR-TOF/MS. Use with headers /chemical_formula= and /mass_to_charge=.
CH4S_H | ppbv | VOCC concentrations of (CH4S)H+ in the air evolved from the experimental chambers that are measured by the PTR-TOF/MS. Use with headers /chemical_formula= and /mass_to_charge=.
Chl | mg/m^3 | Chlorophyll a derived fluorometrically/spectrophotometrically (e.g., "extracted" Chl)
Chl_a | mg/m^3 | HPLC Chlorophyll a (MV_Chl_a plus allomers and epimers)
Chl_a_allom | mg/m^3 | HPLC Chlorophyll a allomers
Chl_a_prime | mg/m^3 | HPLC Chlorophyll a epimer
Chl_b | mg/m^3 | HPLC Chlorophyll b
Chl_c | mg/m^3 | HPLC Chlorophyll c
Chl_c1 | mg/m^3 | HPLC Chlorophyll c1
Chl_c1c2 | mg/m^3 | HPLC Chlorophyll c1 + c2 + Mg_DVP
Chl_c2 | mg/m^3 | HPLC Chlorophyll c2
Chl_c3 | mg/m^3 | HPLC Chlorophyll c3
Chl_experiment | mg/m^3 | Chlorophyll a derived via experiment, or experimental methods. See specific documentation for more information.
Chlide_a | mg/m^3 | HPLC Chlorophyllide a
Chlide_b | mg/m^3 | HPLC Chlorophyllide b
chors_id | none | CHORS HPLC processing identification number
cloud | % | Percent cloud cover
cnw | 1/m | Attenuation coefficient of Gelbstoff + particles (obsolete; see cgp)
cond | mmho/cm | Conductivity
cp | 1/m | Beam attenuation coefficient of particles (ap + bp)
cp_gamma | unitless | Particulate beam attenuation spectra's slope
Croco | mg/m^3 | HPLC Crocoxanthin
cw | 1/m | Beam attenuation coefficient of water (aw + bw)
cycle | none | Incrementing counter describing the sampling interval of the instrument. Relevant to the PTR-TOF/MS.
date | yyyymmdd | Sample date
date_processed | yyyymmdd | Date the sample was processed
day | dd | Sample day
depth | m | Depth of measurement
dewpoint | degreesC | Dew point temperature
Diadchr | mg/m^3 | HPLC Diadinochrome
Diadino | mg/m^3 | HPLC Diadinoxanthin
Diato | mg/m^3 | HPLC Diatoxanthin
DIC | umol/kg | Dissolved inorganic carbon (per kg)
Dino | mg/m^3 | HPLC Dinoxanthin
DMSA | ppt | Concentration of dimethyl sulfide (DMS) in the atmosphere
DMSSW | nmol/L | Concentration of dimethyl sulfide (DMS) in sea water
DNA | mg/m^3 | DNA (DeoxyriboNucleic Acid) concentration within a water volume
DOC | umol/kg | Dissolved organic carbon (per kg)
DP | mg/m^3 | Total diagnostic pigments (PSC + Allo + Zea + Tot_Chl_b)
DV_Chl_a | mg/m^3 | HPLC Divinyl Chorophyll a
DV_Chl_b | mg/m^3 | HPLC Divinyl Chorophyll b
Echin | mg/m^3 | HPLC Echinenone
Ed | uW/cm^2/nm | Downwelling irradiance
EdGND | volts | Dark current values for Ed sensor
elapsed_time | seconds | Elapsed time
Elw | uW/cm^2 | Downwelling irradiance over the infrared spectrum, 3 to 40 um
Epar | uE/cm^2/s | Profiled PAR
epi-epi-Car | mg/m^3 | HPLC Epsilon-Carotene (Epsilon,epsilon-Carotene)
Es | uW/cm^2/nm | Downwelling surface irradiance
EsGND | volts | Dark current values for Es sensor
Esky | uW/cm^2/nm | Downwelling sky irradiance
Esun | uW/cm^2/nm | Downwelling sun irradiance (direct normal solar irradiance)
Esw | uW/cm^2 | Downwelling irradiance over the solar spectrum, 0.3 to 3 um
Et-8-carot | mg/m^3 | HPLC Ethyl-apo-8'-carotene
Et-chlide_a | mg/m^3 | HPLC Ethyl Chlorophyllide a
Et-chlide_b | mg/m^3 | HPLC Ethyl Chlorophyllide b
Eu | uW/cm^2/nm | Upwelling irradiance
EuGND | volts | Dark current values for Eu sensor
EuPAR | uE/cm^2/s | Profiled upwelling PAR
F0 | uW/cm^2/nm | Extraterrestrial solar irradiance
F-initial | unitless | Minimum fluorescence in darkness. Fast Repetition Rate Fluorescence measurement, commonly abbreviated as F0
Fm | unitless | Maximum fluorescence in darkness. Fast Repetition Rate Fluorescence measurement
Fuco | mg/m^3 | HPLC Fucoxanthin
Fv_Fm | unitless | Maximum photochemical efficiency. Fast Repetition Rate Fluorescence measurement, commonly abbreviated as Fv/Fm
g | d^-1 | Grazing Rate
g_herb | d^-1 | Herbivorous Grazing Rate (i.e., Herbivore Induced Mortality)
Gyro | mg/m^3 | HPLC Gyroxanthin-Diester
heading | degrees | platform's heading (e.g., ship's), in degrees
Hex-fuco | mg/m^3 | HPLC 19'-Hexanoyloxyfucoxanthin
Hex-kfuco | mg/m^3 | HPLC 19'-Hexanoyloxy-4-ketofucoxanthin
hour | hh | Sample hour
hpl_id | none | HPL HPLC processing identification number
hplc_gsfc_id | none | NASA GSFC HPLC processing idenfication number (i.e. 'GSFC HPLC lab sampler code')
iso_C2H3N_H | ppbv | VOCC concentration of (13C2H3N)H+ in the air evolved from the experimental chambers that are measured by the PTR-TOF/MS. Use with headers /chemical_formula= and /mass_to_charge=.
iso_C2H4O_H | ppbv | VOCC concentration of d3-acetaldehyde (C2HD3O)H+ in the air evolved from the experimental chambers that are measured by the PTR-TOF/MS. Use with headers /chemical_formula= and /mass_to_charge=.
iso_C2H6S_H | ppbv | VOCC concentration of d3-dimethylsulfide (C2D3H3S)H+ in the air evolved from the experimental chambers that are measured by the PTR-TOF/MS. Use with headers /chemical_formula= and /mass_to_charge=.
iso_C3H6O_H | ppbv | VOCC concentration of d6-acetone (C3D6O)H+ in the air evolved from the experimental chambers that are measured by the PTR-TOF/MS. Use with headers /chemical_formula= and /mass_to_charge=.
iso_CH4O_H | ppbv | VOCC concentration of (13CH4O)H+ in the air evolved from the experimental chambers that are measured by the PTR-TOF/MS. Use with headers /chemical_formula= and /mass_to_charge=.
It | degreesC | Instrument temperature
Kd | 1/m | Diffuse attenuation coefficient of Ed
Kl | 1/m | Diffuse attenuation coefficient of Lu
Knf | 1/m | Diffuse attenuation coefficient of natf
Kpar | 1/m | Diffuse attenuation coefficient of PAR
Ku | 1/m | Diffuse attenuation coefficient of Eu
lat | degrees | Sample latitude
lightlevel | % | Light sample was exposed to, relative to the ambient or experimental intensity
lon | degrees | Sample longitude
LSi | mmol/m^3 | Lithogenic silica
Lsky | uW/cm^2/nm/sr | Sky radiance
Lt | uW/cm^2/nm/sr | Total water radiance
Lu | uW/cm^2/nm/sr | Upwelling radiance
LuGND | volts | Dark current values for Lu sensor
Lut | mg/m^3 | HPLC Lutein
Lw | uW/cm^2/nm/sr | Water leaving radiance
Lwn | uW/cm^2/nm/sr | Normalized water leaving radiance ( Lwn = Lw * F0 / Es )
Lwnex | uW/cm^2/nm/sr | Exact normalized water leaving radiance ( e.g., Morel et al. 2002 )
Lyco | mg/m^3 | HPLC Lycopene
Me-chlide_a | mg/m^3 | HPLC Methyl Chlorophyllide a
Me-chlide_b | mg/m^3 | HPLC Methyl Chlorophyllide b
Mg_DVP | mg/m^3 | HPLC Mg 2,4 divinyl pheoporphyrin a5 monomethyl ester
minute | mn | Sample minute
Monado | mg/m^3 | HPLC Monadoxanthin
month | mo | Sample month
mPF | none | Microplankton proportion factor ([Fuco + Perid] / DP)
MUF | umol | Concentration of 4-Methylumbelliferone's fluorescent molecules without an associated substrate (used for the calibration curve in flow cytometry).
MUF-But | umol/L/hr | Rate of substrate cleavage for 4-Methylumbelliferyl butyrate
MUF-Glu | umol/L/hr | Rate of substrate cleavage for 4-Methylumbelliferyl beta-D-glucopyranoside
MUF-PO4 | umol/L/hr | Rate of substrate cleavage for 4-Methylumbelliferyl phosphate
MV_Chl_a | mg/m^3 | HPLC Monovinyl Chorophyll a
MV_Chl_b | mg/m^3 | HPLC Monovinyl Chorophyll b
mz | unitless | Mass-to-charge ratio, used to describe proton-transfer-reaction time-of-flight mass spectrometer (PTR-TOF/MS) measurements
N2_fix | ug/m^3/d | Nitrogen Fixation Rates
nadir | degrees | Sensor nadir angle (the nadir is the downward facing viewing geometry, opposite the zenith)
nanoeukaryote | (see Field Name Suffixes table) | Phytoplankton taxonomic label for nanoeukaryote. Use in combination with the supported suffixes in the Field Name Suffixes Table.
natf | nE/m^2/sr/s | natural fluorescence of chlorophyll a
NCCb | mmol/m^2/d | Net Benthic Community Calcification, expressed as the millimole production of CaCO3 per benthic area per day
NCPb | mmol/m^2/d | Net Benthic Community Productivity, expressed as the millimole production of O2 per benthic area per day
Neo | mg/m^3 | HPLC Neoxanthin
NH4 | mmol/m^3 | NH4
NO2 | mmol/m^3 | Nitrite
NO2_NO3 | mmol/m^3 | NO2 + NO3
NO3 | mmol/m^3 | Nitrate
nPF | none | Nanoplankton proportion factor ([Hex-fuco + But-fuco + Allo] / DP)
NPP | mg/m^3/d | Net Primary Productivity
nrb | photoelectrons/usec/shot | Normalized relative backscatter
oxygen | ml/L | Dissolved oxygen
oxygen_saturation | % | Percent oxygen saturation
Oz | dobson | Column Ozone
P-457 | mg/m^3 | HPLC P-457
PAR | uE/cm^2/s | PAR measured at the sea surface
PC | mg/m^3 | Phycocyanin derived fluorometrically/spectrophotometrically
pCO2 | uatm | Surface water partial pressure of carbon dioxide
pDrift | mbar | Pressure in the drift tube of the PTR-TOF/MS.
Perid | mg/m^3 | HPLC Peridinin
pH | none | pH
PHAEO | mg/m^3 | Total phaeopigment concentration
Phide_a | mg/m^3 | HPLC Pheophorbide a
Phide_b | mg/m^3 | HPLC Pheophorbide b
Phide_c | mg/m^3 | HPLC Pheophorbide c
Phytin_a | mg/m^3 | HPLC Pheophytin a
Phytin_b | mg/m^3 | HPLC Pheophytin b
Phytin_c | mg/m^3 | HPLC Pheophytin c
phyto_carbon | ug/L | Phytoplankton carbon concentration
Phytyl-chl_c | mg/m^3 | HPLC Phytylated Chlorophyll c
PIC | mol/m^3 | Particulate inorganic carbon
picoeukaryote | (see Field Name Suffixes table) | Phytoplankton taxonomic label for picoeukaryote. Use in combination with the supported Field Name Suffixes Table.
PIM | mg/L | Suspended particulate inorganic matter
pitch | degrees | Instrument pitch
PN | mg/m^3 | Particulate nitrogen
PO4 | mmol/m^3 | Phosphate
POC | mg/m^3 | Particulate organic carbon
POM | mg/L | Suspended particulate organic matter
PON | mg/m^3 | Particulate organic nitrogen
PP | mgC/mgchla/hr | Primary productivity
PPC | mg/m^3 | Photoprotective carotenoids (Allo + Diadino + Diato + Zeo + alpha-beta-Car)
PPC_Tcar | none | Ratio of PPC to Tcar
PPC_Tpg | none | Ratio of PPC to Tpg
pPF | none | Picoplankton proportion factor ([Zea + Tot_chl_b] / DP)
Pras | mg/m^3 | HPLC Prasinoxanthin
pressure | dbar | Water pressure
pressure_atm | mbar | Atmospheric pressure
prochlorococcus | (see Field Name Suffixes table) | Phytoplankton taxonomic label for prochlorococcus. Use in combination with the supported Field Name Suffixes listed in the above table, relating to taxonomic types.
PSC | mg/m^3 | Photosynthetic carotenoids (But-fuco + Fuco + Hex-fuco + Perid)
PSC_Tcar | none | Ratio of PSC to Tcar
PSD | uL/L | Particle Size Distribution. Must be used in conjunction with a suffix to specify sizes, e.g., PSD_80.5size (see _###size in table of field name modifiers.)
PSP | mg/m^3 | Photosynthetic pigments (PSC + Tchl)
PSP_Tpg | none | Ratio of PSP to Tpg
pulse_width | seconds | Time duration that the primary trigger channel exceeded the width measurement threshold during an event (flow cytometry). Scientific notation is accepted.
pvel | m/s | Profiler velocity
Pyrophide_a | mg/m^3 | HPLC Pyropheophorbide a
Pyrophytin_a | mg/m^3 | HPLC Pyropheophytin a
Pyrophytin_b | mg/m^3 | HPLC Pyropheophytin b
Pyrophytin_c | mg/m^3 | HPLC Pyropheophytin c
Q | sr | Eu / Lu (equal to pi in diffuse water)
quality | none | Analyst-specific data quality flag
R | unitless | Irradiance reflectance (Eu / Ed)
RelAbundance | % | Percent cell abundance of a specific phytoplankton taxonomic type relative to all observed cells.
RelAz | degrees | Sensor azimuth angle relative to the solar plane
Rf | uW/cm^2/nm/sr | Raman fluorescence (may be used in combination with suffixes _ex### and/or _em###, like so: Rf_ex###_em###; ex = excitation wavelength; em = emission wavelength)
Rl | 1/sr | Radiance reflectance (Lu / Ed)
roll | degrees | Instrument roll
Rpi | unitless | Radiance reflectance with pi (pi * Lu / Ed)
Rrs | 1/sr | Remote sensing reflectance (Lw / Ed)
S_ad | none | Slope of non-algal detritus absorption spectra
S_ag | none | Slope of gelbstoff absorption spectra
sal | PSU | Salinity
sample | none | Sample number
SAZ | degrees | Solar azimuth angle
sdy | ddd | Sequential day of year
second | ss | Sample second
SenZ | degrees | Sensor zenith angle
sig | mV | Stregth of the raw signal of the sunphotometer
sigma_PSII | angstrom^2 | Effective absorption cross-section of photosystem II in darkness
sigma_theta | kg/m^3 | Potential density - 1000 kg/m3
sigmaT | kg/m^3 | Density - 1000 kg/m3
SiO4 | mmol/m^3 | Silicic Acid / "Dissolved Silica"
Siphn | mg/m^3 | HPLC Siphonein
Siphx | mg/m^3 | HPLC Siphonaxanthin
SN | none | Instrument serial number
speed_f_w | m/s | Speed in the forward direction, relative to water
SPM | mg/L | Total suspended particulate matter
SST | degreesC | Sea surface temperature
station | none | Sample station
station_alt_id | none | Alternate sample station identifier (use ONLY if station has already been used as a field name)
stimf | volts | Stimulated fluorescence, nominally of chlorophyll a. The suffixes _ex### and _em### may be used to specify wavelengths like so: stimf_ex###_em###; ex = excitation wavelength; em = emission wavelength). Related field: Chl_stimf
synechococcus | (see Field Name Suffixes table) | Phytoplankton taxonomic label for synechococcus. Use in combination with the supported Field Name Suffixes listed in the above table, relating to taxonomic types.
SZ | m | Secchi disk depth
SZA | degrees | Solar zenith angle
Tacc | mg/m^3 | Total accessory pigments (PPC + PSC + Tot_Chl_b + Tot_Chl_c)
Tacc_Tchla | none | Ratio of Tacc to Tot_Chl_a
Tcar | mg/m^3 | Total carotenoids (PPC + PSC)
Tchl | mg/m^3 | Tot_Chl_a + Tot_Chl_b + Tot_Chl_c
TChl_Tcar | none | Ratio of Tchl to Tcar
Tchla_Tpg | none | Ratio of Tot_chl_a to Tpg
TDN | mmol/m^3 | Total dissolved nitrogen
Tdrift | degreesC | Temperature in the drift tube of the PTR-TOF/MS.
tilt | degrees | Instrument tilt
time | hh:mm:ss | Sample time
time_processed | hh:mm:ss | Time the sample was processed
Tot_Chl_a | mg/m^3 | HPLC DV_Chl_a + MV_Chl_a + Chlide_a + Chl_a_allom + Chl_a_prime
Tot_Chl_b | mg/m^3 | HPLC DV_Chl_b + MV_Chl_b
Tot_Chl_c | mg/m^3 | HPLC chl_c1 + chl_c2 (i.e., chl_c1c2) + chl_c3
Tpg | mg/m^3 | Total pigment concentration
trans | % | Percent transmission
turbidity | NTU | Turbidity
u | d^-1 | Growth rate (i.e., µ or mu)
u_ph | d^-1 | Growth rate of phytoplankton
u_zoo | d^-1 | Growth rate of zooplankton
Urea | mmol/m^3 | Urea
Vauch | mg/m^3 | HPLC Vaucheriaxanthin-ester
VelEast | m/s | ADP Velocity East
VelNorth | m/s | ADP Velocity North
VelUp | m/s | ADP Velocity Up
Viola | mg/m^3 | HPLC Violaxanthin
VOCair | ppbv | Concenctration of Volatile Organic Carbon (VOC) compounds in air measured via a proton-transfer-reaction time-of-flight mass spectrometer (PTR-TOF/MS)
volfilt | L | Volume filtered
VSF | 1/m/sr | Total volume scattering function (VSF### or VSF###_YYYang, where YYY is collection angle). Also called beta.
VSFg | 1/m/sr | Gelbstoff volume scattering function, i.e., VSFg = VSFw - VSF(pure water, salinity, and temperature) (VSFg### or VSFp###_YYYang, where YYY is collection angle). Also called beta.
VSFp | 1/m/sr | Particulate volume scattering function i.e., VSFp = VSF - VSFw (VSFp### or VSFp###_YYYang, where YYY is collection angle). Also called beta.
VSFw | 1/m/sr | Filtered seawater volume scattering function plus VSF sal & temp contributions, i.e., VSFw = VSF - VSFp (VSFw### or VSFw###_YYYang, where YYY is collection angle). Also called beta., where YYY is collection angle). Also called beta., where YYY is collection angle). Also called beta.
water_depth | m | The water (bottom) depth where the data were collected
waveht | m | Wave height
wavelength | nm | Wavelength of measurement
wdir | degrees | Wind direction, described in degrees from north, increasing clockwise, increasing clockwise, increasing clockwise, increasing clockwise
wind | m/s | Wind speed
Wt | degreesC | Water temperature
Wvp | cm | Water vapor
year | yyyy | Sample year
Z_90 | m | Depth of the first optical layer (37% light level)
Z_DCM | m | Depth of the deep chlorophyll maximum
Z_Eu | m | Depth of the euphotic layer
Z_MLD | m | Depth of the mixed layer
Zea | mg/m^3 | HPLC Zeaxanthin